## Slide 1
Makimbetov Emil
MD, professor

## Slide 5
X-rays are also used in cancer diagnosis. For example, chest radiographs and mammograms are often used for early cancer detection or to see if cancer has spread to the lungs or other areas in the chest. Mammograms use X-rays to look for tumors or suspicious areas in the breasts.
35 years old >

## Slide 6
Osteosarcoma
Ewing sarcoma

## Slide 7
An ultrasound (also known as ultrasonography, sonography, or sonogram) helps doctors look for tumors in certain areas of the body that don't show up well on x-rays. Doctors often use this procedure to guide a needle during a biopsy.
Ultrasound is very good at getting pictures of some soft tissue diseases that don’t show up well on x-rays. Ultrasound is also a good way to tell fluid-filled cysts from solid tumors because they make very different echo patterns. It’s useful in some situations because it can usually be done quickly and doesn’t expose people to radiation.
Ultrasound images are not as detailed as those from CT or MRI scans. Ultrasound cannot tell whether a tumor is cancer. Its use is also limited in some parts of the body because the sound waves can’t go through air (such as in the lungs) or through bone.
Special ultrasound machines, known as Doppler flow machines, can show how fast and in which direction blood flows through vessels. This is helpful because blood flow in tumors is different from that in normal tissue. Some of these machines make color pictures. Color Doppler has made it easier for doctors to find out if cancer has spread into blood vessels, especially in the liver and pancreas.

## Slide 8
Transvaginal ultrasound showing a large cervical cancer in longitudinal plane. Deep stromal invasion is suspected. The limits of the lesion are close to cervical serosa

## Slide 10
Automatic breast ultrasound: state of the art and future perspectives

## Slide 11
MRI

## Slide 12
Colon cancer

## Slide 24
Wiley Online Library
Frozen sections and complete resection in oral cancer surgery